## ExperimentalDataViewer
Analyzer(実験データ画像処理プロセッサ) 操作手順書_01
RHK Technology Inc.のsm4形式のSPM実験データを読み込む [実験データは、東京工業大学・大学院総合理工学研究科、材料物理科学専攻、量子表面講座、平山博之教授より提供されたものである]
| 設定内容 | 操作
1 | SPMシミュレータを起動する。
2 | 実験データ画像処理プロセッサAnalyzer専用のウィンドウを開く。 | メニューバーの[Tool]→[Analyzer]をクリックする。すると、Analyzer専用の新しいウィンドウが開く。
3 | 実験データを開く。 | Analyzerウィンドウのメニューバーにある[File]→[Open...]をクリックする。実験データファイル"1110050009.SM4"を選択する。
4 | 読み込む実験画像を選択する。 | "Image Convertor"というタイトルのボックスが現れて、"Some Image exists. Read All Images ?"と尋ねるので、ここでは"Yes"を選択する。すると、全ての実験データ画像がウィンドウ内に表示される。("No"を選択した場合、実験データ画像一枚ごとに、開くかどうか尋ねてくる。)
5 | 基板面の傾き補正を行う。 | 基板面の傾き補正を行いたい実験データ画像が表示されているウィンドウを、クリックして選択する。ここでは、"1110050009 Topography[LEFT]"というタイトルのウィンドウを選択する。実験データ画像の上にカーソルを置いて右クリックすると、コンテキストメニューが現れる。その中の、項目[Correct tilt]をクリックする。すると、傾き補正が行われた実験データ画像がウィンドウに表示される。
6 | 実験データ画像をcube形式で保存する。 | 実験データ画像上にカーソルを置いて右クリックする。すると、コンテキストメニューが現れるので、その中の項目[Save As...]をクリックする。"Save As"というタイトルの保存画面が現れるので、"1110050009.cube"というファイル名で保存する。
7 | 実験データ画像を3次元表示する。 | 実験データ画像上にカーソルを置いて右クリックする。すると、コンテキストメニューが現れるので、その中の項目[3D-View]をクリックする。マウスで実験データ画像を適切にドラッグすると、画像を3次元回転させることが出来る。
最終的な画面

## EstimationTipGeometry
Experimental Data Processor Tutorials
Tutorial-2: Tip Characterization (OMICRON) (OMICRON) Tutorial-1: Reading a binary file of experimental data
[The Experimental data are offered from Fukutani Lab., Institute of Industrial Science, The University of Tokyo]
| Description | Procedure
1 | Launch SPM Simulators.
2 | Acrtivate a new window for Analyzer which is an experimental data processing module. | Click the item [Tool] > [Analyzer] in the menubar of the main window. Then another window for the Analyzer, which is the experimental data processing module, appears.
3 | Select a folder where files of experimental data for tip characterization are stored up. ("D:/Program Files/SpmSimulator/SampleProject/Analyzer/BlindReconstructionMethod-test02") | Click the item [File] > [Open...] put in the menubar of the window for Analyzer, and you will see a box with a title [File Open]. Next, move to the directory "D:/Program Files/SpmSimulator/SampleProject/Analyzer". Then, choose a folder whose neme is given by "BlindReconstructionMethod-test02".
4 | Define an extension of the binary file of experimental data. | Around the bottom of the box titled as [Open File], you can find a pull-down menu for defining an extension of a file. So, choose "Omicron Data(*par)" as an extension of the binary file of experimental data.
5 | Open and read the file of binary data and display SPM images obtained from raw data of experiments. | Open the file whose name is given by "m16_ori.par". Then SPM images of the raw data of experiments are displayed in the window of [Analyzer] automatically.
6 | Let a module start estimating the geometry of the tip. | Make a right mouse click with putting the cursor on the image of the experimental data "m16_ori.tf0", and you will see a context menu where options of various types of image efects are listed. Then choose the item [Tip Estimation] > [Blind Deconvolution] among them.
7 | Input parameters for the tip charcterization. | Type "15" for [Tip Nx], type "15" for [Tip Ny], and type "1.00" for [Parameter]. Then, an estimated image of the tip is shown automatically.
8 | Show the image of the estimated tip in 3D. | Make a right mouse click with putting the cursor on the image of the estimated tip "tip_result.cube", and you will see a context menu where options of various types of image efects are listed. Then choose the item [3D-View] among them.
The window obtained finally.
Release information for trial version Japanese (now available): https://www.aas-ri.co.jp/spm/appform/spmreg.php English(scheduled for Jan 17,2012): https://www.aas-ri.co.jp/spm/en/spm_eng.html